## Revision History (hidden)
Draft Calculator Revision History | [5 empty] | TASKS
Date | Party | Tab Edited | Field Edited | Description | Related TASK No. | No. | Date Complete | Tab Edited | Source File
2025-08-12 | WSP | ALL | ALL | Templatized | NA | 1 |  | Make sure to create named fields (Formulas > Name Manager) and use formulas using named field values (note be sure to delete unused names from the template document)
[6 empty] | 2 |  | Make sure all credit calculation requirements are included
[6 empty] | 3 |  | Make sure formulas work, values correct, validation included where needed (i.e. positive numbers only, etc.)
[6 empty] | 4 |  | Make sure labels are correct (including make explicit where inputs are required or optional)
[6 empty] | 5 |  | QC Cell Formatting (see internal style guide)
[6 empty] | 6 |  | Add Notes where needed
[6 empty] | 7 |  | Add summary "Point calculation" tab
[6 empty] | 8 |  | Update instructions tab
[6 empty] | 9 |  | Add flags as needed (i.e. for CFCs, IDC BDC >700 GWP)
[6 empty] | 10 |  | Allow Add rows without macros, include instructions (NOTE prior calculator drafts have used Groups, welcome other recommendations)
[6 empty] | 11 |  | Update formatting per USGBC (including If required create named fields; If guidance says use tables, convert to tables)
[6 empty] | 12 |  | Spell Check
[6 empty] | 13 |  | Final Lock Settings and QC

## Internal Style Guide (hidden)
Internal Style Guide
TEMP LOCK PASSWORD |  | LEED
Workbook Structure |  | Inputs Tab: User input AND final summary values only, can have some automatic input cells IF important for user data, can have multiple inputs tabs if needed
Logic Tab: Calculations for values needed for LEED Performance, no user input, will be hidden from users
Database Tab: Constants, values for logic calculations, points, limit to static values no formulas where possible, will be hidden from users
Summary Tab: Points, values needed for LEED performance (see Reference Guide Documentation requirements for what needs to be included)
Note calculators must use Formula > Name Manager to name fields and cells that are used for calculations or pulled into other cells. Recommend developing full calculator structure and initial formulas before naming fields and updating formulas.
General Sheet Formating |  | Turn-off view gridlines
Columns to left and right of boarder to be Width of 3.5 (42 pxl)
Rows above and below boarder to be Height of 20 (34 pxl)
Sheet Background Fill |  | #F7F8F6; fill up to row 300, 600, or 900 as needed; fill up to column Z
Instructions + Summary Background Fill |  | #FFFFFF
Title Fill |  | IP | #952713
|  | LT | #B87400
|  | SS | #536426
|  | WE | #006570
|  | EA | #C75127
|  | MR | #7C4901
|  | EQ | #684659
|  | PR | #7E8AA2
Title Format |  | Use downloadable PNG logo w and maintain aspect ratio in all cases. Logo must never be more than 1 inch (72 pixels) wide.
Suggest standard header height of 90.0 (150 pxl) with an increase to 95.0 (160 pxl) prerequisite and credit combo.
Note naming convention (see below for example):
USGBC Calculator ¦¦ LEED for Building Operations and Maintenance [14 point font, bold] LEED v5 EAp4: Fundamental Refigerant Management [12 point font, bold] LEED v5 EAc3: Enhanced Refrigerant Management Performance [12 point font, bold] SHEET NAME (I.E. INPUTS, LOGIC, DATABASE, SUMMARY) [12 point font, bold]
Cell Outline |  | Automatic, Default Weight
Standard Row Width |  | 18.0 (30 pxls)
Text Alignment |  | Left, Vertical Center
Number Formatting |  | All numbers left justified, text right justified
| 1000 | CONFIRM WHICH DATA USES THIS FORMAT
| 1.1 | CONFIRM WHICH DATA USES THIS FORMAT
| 1.1% | CONFIRM WHICH DATA USES THIS FORMAT
Font | Headings | Arial 11 Bold UPPERCASE
| Subheading | Arial 10 Bold
| Text | Arial 10
|  | HEADING | FILL HEX #353434, TEXT HEX # F7F8F6
|  | Subheading | FILL FOR SUBHEADING CELLS HEX #B6B7B8 CENTER ALL HEADERS
|  | Manual input | FILL FOR USER INPUT CELLS HEX #000000
|  | Auto input | FILL FOR AUTOMATIC CELLS HEX #F2F2F2
|  | Calculation | FILL FOR AUTOMATIC CELLS HEX #D9D9D9 Database and logic only
Supplemental instructions
Formulas |  | Use Formulas > Name Manager to name arrays and cells where possible

## Instructions
LEED v5 Reduce Peak Thermal Loads Calculator LEED for Building Design and Construction Instructions
CREDIT INSTRUCTIONS
EAc2 Reduce Peak Thermal Loads
|  | ▪ | For All Options: the building envelope must meet the requirements of ASHRAE 90.1, Section 5.5, Prescriptive Building Envelope Compliance Path or ASHRAE 90.1, Section 5.6, Building Envelope Trade-Off Compliance Path per the version of ASHRAE 90.1 referenced in EAp2 Minimum Energy Efficiency. Building envelope efficiency shall not be traded off with other building systems
|  | ▪ | Option 2. Ventilation Energy Recovery Requirements:
|  |  | ▪ | Each fan system supplying outdoor air must have an energy or heat recovery system with a minimum 70% enthalpy recovery ratio or a minimum of 75% sensible heat recovery ratio. Provisions must be made to bypass or control the energy recovery system during moderate outside air conditions.
|  |  | ▪ | In aggregate, fan systems supplying less than 15% of the project’s total outdoor air can be excluded.
|  |  | ▪ | Fan systems must supply a minimum of 50% of the ventilation air required for the project per ASHRAE Standard 62.1-2022, Ventilation Rate Procedure, to qualify for this option.
|  | ▪ | Option 4. Peak Thermal Load Reductions Requirements:
|  |  | ▪ | Ventilation loads must be included in the determination of peak coincident loads
|  |  | ▪ | Measure building envelope air leakage using air leakage testing and use the measured air leakage to calculate the peak loads for Path 2 or Path 3.
|  |  | ▪ | Demonstrate balanced ventilation meeting the criteria in Option 1 above.
|  |  | ▪ | For Path 2. ASHRAE 90.1 Trade-off Methods: Calculate the improvement in peak thermal loads due to envelope and/or ventilation changes between the baseline and proposed.
|  |  | ▪ | For Path 3. Energy Simulation: Calculate the improvement in peak thermal loads over a baseline based on an energy simulation.
INPUT INSTRUCTIONS
User input cell formatting.
Automatic input cell formatting.
Calculation cell formatting.
All input cells are required unless otherwise noted.
Project teams must fill out input cells from top section rows.
|  | 1 | Input General Information for the project, including Credit Option and Pathway, Building Type, and Unit System.
|  | 2 | Fill in ventilation and exhaust equipment tables for Option 2.
Optional fields for this option:
▪ Equipment Type. Inputs type of ventilation equipment.
Required fields for this option:
▪ Equipment Tag Name. Unique name for each ventilation equipment based on design documents.
▪ Equipment Quantity. Number of pieces of this type of equipment are in the project.
▪ Outdoor Air Flow per Individual Equipment. Design outdoor air flow for the ventilation equipment type.
▪ Does ventilation equipment have a qualifying heat or energy recovery system? Indicate whether the equipment has a qualifying energy/heat recovery system associated with it (refer to the instructions above).
|  | 3 | List Peak Heating and Cooling Loads by System. (Optional)
This step is optional for those users looking for assistance determining the peak coincident and non-coincident loads based on the individual systems in their project scope. Fields below apply to both Peak Heating By System and Peak Cooling By System tables.
Optional fields:
▪ System ID. Indicate System ID based on design documents.
▪ System Type. Indicate System ID based on design documents.
▪ Peak Load. Indicate peak heating or cooling load for each system.
▪ Time of year. Indicate day of the year the system's peak loading occurs. Input as MM/YY.
|  | 4 | Enter compliance with Option 4. Peak Thermal Load Reductions.
Included ventilation loads in the determination of peak coincident loads. If during the construction phase, use measured air leakage to calculate the peak loads.
Required fields for this option:
▪ Proposed Envelope Sum of the System Peak Heating Loads. The peak heating load for the proposed design.
▪ Proposed Envelope Sum of the System Peak Cooling Loads. The peak cooling load for the proposed design.
▪ Baseline Envelope Sum of the System Peak Heating Loads. The peak heating load for the baseline design.
▪ Baseline Envelope Sum of the System Peak Cooling Loads. The peak cooling load for the baseline design.
Required fields for Option 4. Path 2:
▪ Proposed Ventilation Load Peak Heating Coincident. The peak heating load for the proposed design.
▪ Proposed Ventilation Load Peak Cooling Coincident. The peak cooling load for the proposed design.
▪ Baseline Ventilation Load Peak Heating Coincident. The peak heating load for the baseline design.
▪ Baseline Ventilation Load Peak Cooling Coincident. The peak cooling load for the baseline design.
Required fields for Option 4. Path 3:
▪ Proposed Energy Simulation Load Peak Heating Coincident. The peak heating load for the proposed design.
▪ Proposed Energy Simulation Load Peak Cooling Coincident. The peak cooling load for the proposed design.
▪ Baseline Energy Simulation Load Peak Heating Coincident. The peak heating load for the baseline design.
▪ Baseline Energy Simulation Load Peak Cooling Coincident. The peak cooling load for the baseline design.

## Inputs
LEED v5 Reduce Peak Thermal Loads Calculator LEED for Building Design and Construction Inputs
STEP 1: GENERAL INFORMATION
Credit Option and Pathway
| Building Type |  |  |  |  | Required for Option 4 Path 2 only
Units
ASHRAE Climate Zone
STEP 2: COMPLIANCE WITH OPTION 2. VENTILATION ENERGY RECOVERY SYSTEMS
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Ventilation Equipment Table
| Equipment Tag Name | Equipment Type (Optional) | Equipment Quantity | Outdoor Air Flow per Individual Equipment (cfm) | Total Outdoor Air Flow (cfm) | Does ventilation equipment have a qualifying heat or energy recovery system?
1
2
3
4
5
6
7
8
9
10 | [6 empty] | Click + to left for additional rows
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31 | [6 empty] | Click + to left for additional rows
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52 | [6 empty] | Click + to left for additional rows
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73 | [6 empty] | Click + to left for additional rows
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94 | [6 empty] | Click + to left for additional rows
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
| Total Ventilation Rate (cfm) |  |  |  | 0
| Total Ventilation Rate of Compliant Systems (cfm) |  |  |  | 0
STEP 3: LIST PEAK HEATING AND COOLING LOADS BY SYSTEM (Optional)
Users looking for assistance in determining the peak coincedent and non-coincedent loads based on the individual systems in the project scope should enter information below; otherwise, skip to Step 4.
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Peak Heating By System (Optional)
| Heating System ID | System Type | Peak Heating Load (W) | Time of the Year (mm/dd)
1
2
3
4
5
6
7
8
9
10 |  |  |  |  | Click + to left for additional rows
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31 |  |  |  |  | Click + to left for additional rows
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52 |  |  |  |  | Click + to left for additional rows
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73 |  |  |  |  | Click + to left for additional rows
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94 |  |  |  |  | Click + to left for additional rows
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
| Total non-coincedent peak loads (W) |  | 0
| Total coincedent peak load (W) |  | 0
Peak Heating Day
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Peak Cooling By System (Optional)
| Cooling System ID | System Type | Peak Cooling Load (W) | Time of the Year (mm/dd)
1
2
3
4
5
6
7
8
9
10 |  |  |  |  | Click + to left for additional rows
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31 |  |  |  |  | Click + to left for additional rows
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51 |  |  |  |  | Click + to left for additional rows
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71 |  |  |  |  | Click + to left for additional rows
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91 |  |  |  |  | Click + to left for additional rows
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
| Total non-coincedent peak loads (W) |  | 0
| Total coincedent peak load (W) |  | 0
Peak Cooling Day
STEP 4: COMPLIANCE WITH OPTION 4. PATH 2 OR 3
Fill out the Envelope Loads and Ventilation Loads table for Path 2 OR the Energy Simulation table for Path 3.
Required for Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Envelope Loads
Envelope Loads
| Proposed envelope performance factor |  | Base envelope performance factor |  | Peak Loads Reduction (%)
| Sum of the System Peak Heating Loads (W) | Sum of the System Peak Cooling Loads (W) | Sum of the System Peak Heating Loads (W) | Sum of the System Peak Cooling Loads (W)
0%
AND/OR
Required for Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Ventilation Loads
ASHRAE 90.1 Trade-Off Methods
| Proposed TSPR |  | Reference TSPR |  | MPF | Improvement (%)
| Peak Heating Coincident (W) | Peak Cooling Coincident (W) | Peak Heating Coincident (W) | Peak Cooling Coincident (W)
0%
OR
Required for Option 4. Path 3. Energy Simulation
Energy Simulation
| Proposed |  | Baseline |  | Performance Index
| Peak Heating (W) | Peak Cooling (W) | Peak Heating (W) | Peak Cooling (W)
0
Note on G19: Note Qualifying energy or heat recovery system must have a minimum 70% enthalpy recovery ratio or a minimum of 75% sensible heat recovery ratio and provisions to bypass or control the energy recovery system during moderate outside conditions.
Note on F405: Note The MPF is determined by the building type and climate zone.

## Logic (hidden)
LEED v5 Reduce Peak Thermal Loads Calculator BD+C LEED for Building Design and Construction Logic
LOGIC 1: GENERAL INFORMATION
Credit Option and Pathway
| Residential Building? |  |  | FALSE
| Units |  |  | 0
| ASHRAE Climate Zone |  |  | 0
LOGIC 2: COMPLIANCE WITH OPTION 2. VENTILATION ENERGY RECOVERY SYSTEMS
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Ventilation Equipment Table
| Equipment Tag Name | Equipment Type (Optional) | Equipment Quantity | Outdoor Air Flow per individual equipment (cfm) | Total Outdoor Air Flow (cfm) | Does ventilation equipment have a qualifying heat or energy recovery system?
1
2
3
4
5
6
7
8
9
10 | [7 empty] | Click + to left for additional rows
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31 | [7 empty] | Click + to left for additional rows
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52 | [7 empty] | Click + to left for additional rows
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73 | [7 empty] | Click + to left for additional rows
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94 | [7 empty] | Click + to left for additional rows
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
| Total Ventilation Rate (cfm) |  |  |  | 0
| Total Ventilation Rate of Compliant Systems (cfm) |  |  |  | 0
% of OA not meeting requirements
| Does each fan system supplying outdoor have an energy or heat recovery system with a minimum 70% enthalpy recovery ratio or a minimum of 75% sensible heat recovery ratio? |  |  |  | No
LOGIC 3: LIST PEAK HEATING AND COOLING LOADS BY SYSTEM (Optional)
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Peak Heating By System (Optional)
| Heating System | System Type | Peak Heating Load (W) | Time of the year (mm/dd) | Peak Days | Peak Heating Loads by Day
1 | [5 empty] | 0
2 | [5 empty] | 0
3 | [5 empty] | 0
4 | [5 empty] | 0
5 | [5 empty] | 0
6 | [5 empty] | 0
7 | [5 empty] | 0
8 | [5 empty] | 0
9 | [5 empty] | 0
10 | [5 empty] | 0 | Click + to left for additional rows
11 | [5 empty] | 0
12 | [5 empty] | 0
13 | [5 empty] | 0
14 | [5 empty] | 0
15 | [5 empty] | 0
16 | [5 empty] | 0
17 | [5 empty] | 0
18 | [5 empty] | 0
19 | [5 empty] | 0
20 | [5 empty] | 0
21 | [5 empty] | 0
22 | [5 empty] | 0
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
29 | [5 empty] | 0
30 | [5 empty] | 0
31 | [5 empty] | 0 | Click + to left for additional rows
32 | [5 empty] | 0
33 | [5 empty] | 0
34 | [5 empty] | 0
35 | [5 empty] | 0
36 | [5 empty] | 0
37 | [5 empty] | 0
38 | [5 empty] | 0
39 | [5 empty] | 0
40 | [5 empty] | 0
41 | [5 empty] | 0
42 | [5 empty] | 0
43 | [5 empty] | 0
44 | [5 empty] | 0
45 | [5 empty] | 0
46 | [5 empty] | 0
47 | [5 empty] | 0
48 | [5 empty] | 0
49 | [5 empty] | 0
50 | [5 empty] | 0
51 | [5 empty] | 0
52 | [5 empty] | 0 | Click + to left for additional rows
53 | [5 empty] | 0
54 | [5 empty] | 0
55 | [5 empty] | 0
56 | [5 empty] | 0
57 | [5 empty] | 0
58 | [5 empty] | 0
59 | [5 empty] | 0
60 | [5 empty] | 0
61 | [5 empty] | 0
62 | [5 empty] | 0
63 | [5 empty] | 0
64 | [5 empty] | 0
65 | [5 empty] | 0
66 | [5 empty] | 0
67 | [5 empty] | 0
68 | [5 empty] | 0
69 | [5 empty] | 0
70 | [5 empty] | 0
71 | [5 empty] | 0
72 | [5 empty] | 0
73 | [5 empty] | 0 | Click + to left for additional rows
74 | [5 empty] | 0
75 | [5 empty] | 0
76 | [5 empty] | 0
77 | [5 empty] | 0
78 | [5 empty] | 0
79 | [5 empty] | 0
80 | [5 empty] | 0
81 | [5 empty] | 0
82 | [5 empty] | 0
83 | [5 empty] | 0
84 | [5 empty] | 0
85 | [5 empty] | 0
86 | [5 empty] | 0
87 | [5 empty] | 0
88 | [5 empty] | 0
89 | [5 empty] | 0
90 | [5 empty] | 0
91 | [5 empty] | 0
92 | [5 empty] | 0
93 | [5 empty] | 0
94 | [5 empty] | 0 | Click + to left for additional rows
95 | [5 empty] | 0
96 | [5 empty] | 0
97 | [5 empty] | 0
98 | [5 empty] | 0
99 | [5 empty] | 0
100 | [5 empty] | 0
101 | [5 empty] | 0
102 | [5 empty] | 0
103 | [5 empty] | 0
104 | [5 empty] | 0
105 | [5 empty] | 0
106 | [5 empty] | 0
107 | [5 empty] | 0
108 | [5 empty] | 0
109 | [5 empty] | 0
110 | [5 empty] | 0
111 | [5 empty] | 0
112 | [5 empty] | 0
113 | [5 empty] | 0
114 | [5 empty] | 0
Click + to left for additional rows
| Total non-coincedent peak loads (W) |  | 0
| Total coincedent peak load (W) |  |  |  |  | 0
Peak Day
Click + to the left to add additional rows. Click - to the left to collapse (content will be saved).
Peak Cooling By System (Optional)
| Heating System | System Type | Peak Cooling Load (W) | Time of the year (mm/dd) | Peak Days | Peak Heating Loads by Day
1 | [5 empty] | 0
2 | [5 empty] | 0
3 | [5 empty] | 0
4 | [5 empty] | 0
5 | [5 empty] | 0
6 | [5 empty] | 0
7 | [5 empty] | 0
8 | [5 empty] | 0
9 | [5 empty] | 0
10 | [5 empty] | 0 | Click + to left for additional rows
11 | [5 empty] | 0
12 | [5 empty] | 0
13 | [5 empty] | 0
14 | [5 empty] | 0
15 | [5 empty] | 0
16 | [5 empty] | 0
17 | [5 empty] | 0
18 | [5 empty] | 0
19 | [5 empty] | 0
20 | [5 empty] | 0
21 | [5 empty] | 0
22 | [5 empty] | 0
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
29 | [5 empty] | 0
30 | [5 empty] | 0
31 | [5 empty] | 0 | Click + to left for additional rows
32 | [5 empty] | 0
33 | [5 empty] | 0
34 | [5 empty] | 0
35 | [5 empty] | 0
36 | [5 empty] | 0
37 | [5 empty] | 0
38 | [5 empty] | 0
39 | [5 empty] | 0
40 | [5 empty] | 0
41 | [5 empty] | 0
42 | [5 empty] | 0
43 | [5 empty] | 0
44 | [5 empty] | 0
45 | [5 empty] | 0
46 | [5 empty] | 0
47 | [5 empty] | 0
48 | [5 empty] | 0
49 | [5 empty] | 0
50 | [5 empty] | 0
51 | [5 empty] | 0 | Click + to left for additional rows
52 | [5 empty] | 0
53 | [5 empty] | 0
54 | [5 empty] | 0
55 | [5 empty] | 0
56 | [5 empty] | 0
57 | [5 empty] | 0
58 | [5 empty] | 0
59 | [5 empty] | 0
60 | [5 empty] | 0
61 | [5 empty] | 0
62 | [5 empty] | 0
63 | [5 empty] | 0
64 | [5 empty] | 0
65 | [5 empty] | 0
66 | [5 empty] | 0
67 | [5 empty] | 0
68 | [5 empty] | 0
69 | [5 empty] | 0
70 | [5 empty] | 0
71 | [5 empty] | 0 | Click + to left for additional rows
72 | [5 empty] | 0
73 | [5 empty] | 0
74 | [5 empty] | 0
75 | [5 empty] | 0
76 | [5 empty] | 0
77 | [5 empty] | 0
78 | [5 empty] | 0
79 | [5 empty] | 0
80 | [5 empty] | 0
81 | [5 empty] | 0
82 | [5 empty] | 0
83 | [5 empty] | 0
84 | [5 empty] | 0
85 | [5 empty] | 0
86 | [5 empty] | 0
87 | [5 empty] | 0
88 | [5 empty] | 0
89 | [5 empty] | 0
90 | [5 empty] | 0
91 | [5 empty] | 0 | Click + to left for additional rows
92 | [5 empty] | 0
93 | [5 empty] | 0
94 | [5 empty] | 0
95 | [5 empty] | 0
96 | [5 empty] | 0
97 | [5 empty] | 0
98 | [5 empty] | 0
99 | [5 empty] | 0
100 | [5 empty] | 0
101 | [5 empty] | 0
102 | [5 empty] | 0
103 | [5 empty] | 0
104 | [5 empty] | 0
105 | [5 empty] | 0
106 | [5 empty] | 0
107 | [5 empty] | 0
108 | [5 empty] | 0
109 | [5 empty] | 0
110 | [5 empty] | 0
| Total non-coincedent peak loads (W) |  | 0
| Total coincedent peak load (W) |  |  |  |  | 0
Peak Day
LOGIC 4: COMPLIANCE WITH OPTION 4. PATH 2 OR 3
Fill out the Envelope Loads and Ventilation Loads table for Path 2 OR the Energy Simulation table for Path 3.
Required for Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Envelope Loads
Envelope Loads
| Proposed |  | Baseline |  | Peak Loads Reduction (%) | Envelope Trade-off Credits
| Peak Heating (W) | Peak Cooling (W) | Peak Heating (W) | Peak Cooling (W)
| 0 | 0 | 0 | 0 | 0% | 0
AND/OR
Required for Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Ventilation Loads
ASHRAE 90.1 Trade-Off Methods
| Proposed TSPR |  | Reference TSPR |  | MPF | Improvement (%) | Ventilation Trade-off Credits
| Peak Heating Coincident (W) | Peak Cooling Coincident (W) | Peak Heating Coincident (W) | Peak Cooling Coincident (W)
| 0 | 0 | 0 | 0 |  | 0% | 0
OR
Required for Option 4. Path 3. Energy Simulation
Energy Simulation
| Proposed |  | Baseline |  | Performance Index
| Peak Heating (W) | Peak Cooling (W) | Peak Heating (W) | Peak Cooling (W)
| 0 | 0 | 0 | 0 | 0%
Note on G19: Note Qualifying energy or heat recovery system must have a minimum 70% enthalpy recovery ratio or a minimum of 75% sensible heat recovery ratio and provisions to bypass or control the energy reocvery system during moderate outside conditions.

## Database (hidden)
LEED v5 Reduce Peak Thermal Loads Calculator BD+C LEED for Building Design and Construction Database
GENERAL INFORMATION
Option and Path | Options | Select
Option 2.
Option 4. Path 2
Option 4. Path 3
Option 2. + Option 4. Path 2
Option 2. + Option 4. Path 3
Option 2. + Option 4. Path 2 + 3
Option 4. Path 2 + 3
Building Type | Options | Select
Office (Small/Med)
Office (Large)
Retail
Hotel/Motel
Apartment/Dormitory
School/Education
Other
Units | Options | Select
IP
SI
Select Project Climate Zone | Options | Select
0A
0B
1A
1B
2A
2B
3A
3B
3C
4A
4B
4C
5A
5B
5C
6A
6B
7
8
Ventilation Equipment | Options | Select
AHU
SF
DOAS
FCU
Other
Units | Options | Select
50 Pascals (0.2 H2O)
75 Pascals (0.3 H2O)
Heat Recovery | Options | Select
Yes
No
CLIMATE ZONE BUILDING TYPES
Building Type | 0A | 0B | 1A | 1B | 2A | 2B | 3A | 3B | 3C | 4A | 4B | 4C | 5A | 5B | 5C | 6A | 6B | 7 | 8
Office (Small/Med) | 0.72 | 0.72 | 0.7 | 0.71 | 0.69 | 0.65 | 0.71 | 0.68 | 0.65 | 0.81 | 0.7 | 0.78 | 0.85 | 0.77 | 0.81 | 0.87 | 0.84 | 0.88 | 0.9
Office (Large) | 0.83 | 0.83 | 0.84 | 0.84 | 0.79 | 0.82 | 0.72 | 0.81 | 0.77 | 0.67 | 0.76 | 0.63 | 0.71 | 0.72 | 0.63 | 0.73 | 0.71 | 0.71 | 0.71
Retail | 0.6 | 0.57 | 0.5 | 0.55 | 0.46 | 0.46 | 0.43 | 0.51 | 0.4 | 0.45 | 0.57 | 0.68 | 0.46 | 0.68 | 0.67 | 0.5 | 0.45 | 0.44 | 0.38
Hotel/Motel | 0.62 | 0.62 | 0.63 | 0.63 | 0.62 | 0.68 | 0.61 | 0.71 | 0.73 | 0.45 | 0.59 | 0.52 | 0.38 | 0.47 | 0.51 | 0.35 | 0.38 | 0.31 | 0.26
Apartment/Dormitory | 0.64 | 0.63 | 0.67 | 0.63 | 0.65 | 0.64 | 0.59 | 0.72 | 0.55 | 0.53 | 0.5 | 0.44 | 0.54 | 0.47 | 0.38 | 0.55 | 0.5 | 0.51 | 0.47
School/Education | 0.82 | 0.81 | 0.8 | 0.79 | 0.75 | 0.72 | 0.71 | 0.72 | 0.67 | 0.73 | 0.72 | 0.68 | 0.82 | 0.73 | 0.61 | 0.89 | 0.8 | 0.83 | 0.77
TEST CONDITIONS AIR LEAKAGE
Building Conditioned Floor Area (sq ft) | Test Conditions | Maximum Air Leakage
|  | New Construction | Major Renovation | Units
>465 | 50 Pascals (0.2 H2O) | 0.13 | 0.2 | cfm/sq ft
>465 | 75 Pascals (0.3 H2O) | 0.18 | 0.27 | cfm/sq ft
<465 | 50 Pascals (0.2 H2O) | 1 | 1.5 | ACH
<465 | 75 Pascals (0.3 H2O) | 1.35 | 2 | ACH

## Summary
LEED v5 Reduce Peak Thermal Loads Calculator LEED for Building Design and Construction Summary
Credit Option and Pathway
OPTION 2: VENTILATION ENERGY RECOVERY (1 POINT)
| Ventilation Energy Recovery | Associated Points
| Minimum 70% enthalpy recovery ratio or Minimum of 75% Sensible Heat Recovery Ratio | 1
| Ventilation Energy Recovery Met | Not Compliant
AND/OR
OPTION 4: PATH 2. ASHRAE 90.1 TRADE-OFF METHODS (1 - 3 POINTS)
| Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Envelope Loads | Associated Points
| < 10% | 0
| => 10% | 1
| => 20% | 2
| ASHRAE 90.1 Envelope Loads Trade-off | 0%
AND/OR
| Option 4. Path 2. ASHRAE 90.1 Trade-off Methods - Ventilation Loads | Associated Points
| < 10% | 0
| => 10% | 1
| ASHRAE 90.1 Ventilation Loads Trade-off | 0%
OR
OPTION 4: PATH 3. ENERGY SIMULATION (1 - 3 POINTS)
| Energy Simulation Performance Index | Associated Points
| > 0.5 | 0
| >= 0.5 | 1
| >= 0.4 | 2
| >= 0.3 | 3
| Energy Simulation Performance Index | 0
V01
Copyright © 2025
U.S. Green Building Council
All Rights Reserved
Last Updated: 10/31/2025